UTKALMANI GOPABANDHU INSTITUTE OF ENGINEERING, ROURKELA

###### LESSON  PLAN

DEPARTMENT OF CHEMICAL ENGINEERING

LESSON PLAN SUBJECT CODE : TH-5 NAME : ICA BRANCH : CH SEMESTER :Diploma-V CREDIT POINTS : 4 NUMBER OF MODULES : 4 CLASSES REQUIRED : 60 PRE-REQUISITE : To working principle, construction, repair and maintenance of measuring instrument and their used to control chemical engineering unit operations and processes.

MODULE-I

INSTRUMENT 1.1 Instruments and its importance 1.2 Standards of measurement 1.3 Functional elements of instruments 1.4 Performance characteristics of an instrument

Objectives:

To understand Instruments and its importance, Functional elements of instruments	, Performance characteristics of an instrument.

| Lecture no | Topics to be covered | PRIMARY REFERENCE (BOOKS/NOTES) |
| --- | --- | --- |
| 1 | Instruments and its importance | R1 |
| 2 | Standards of measurement | T1 |
| 3 | Functional elements of instruments | T1 |
| 4 | Performance characteristics of an instrument | R1 |
| 5 | Performance characteristics of an instrument | R1 |

MODULE-II

MEASUREMENTS OF CHARACTERISTICS 2.1 Measurement of viscosity by Red Wood Viscometer, Falling Sphere Viscometer, Continuous Viscometer 2.2 Principle and uses of spectrophotometer 2.3 Principle and uses of polarimeter 2.4 Measurement of refractive index by Refractometer

Objectives:

To understand Measurement of viscosity by Red Wood Viscometer, Falling Sphere Viscometer, Continuous Viscometer.  To understand the Principle and uses of spectrophotometer.

| Lecture no | Topics to be covered | PRIMARY REFERENCE (BOOKS/NOTES) |
| --- | --- | --- |
| 6 | Measurement of viscosity by Red Wood Viscometer | T1, R1 |
| 7 | Measurement of viscosity by Falling Sphere Viscometer | R1 |
| 8 | Measurement of viscosity by Continuous Viscometer | T1 |
| 9 | Principle and uses of spectrophotometer | T1, R1 |
| 10 | Principle and uses of spectrophotometer | R1 |
| 11 | Principle and uses of spectrophotometer | T1 |
| 12 | Principle and uses of polarimeter | T1, R1 |
| 13 | Principle and uses of polarimeter | R1 |
| 14 | Measurement of refractive index by Refractometer | T1 |
| 15 | Measurement of refractive index by Refractometer | T1, R1 |

MODULE-III

PH & CONDUCTIVITY MEASUREMENT 3.1 Measurement of pH 3.2 Measurement of electrical conductivity

Objectives:

To measurement of pH &measure of electrical conductivity.

| Lecture no | Topics to be covered | PRIMARY REFERENCE (BOOKS/NOTES) |
| --- | --- | --- |
| 16 | Measurement of pH | T1, R1 |
| 17 | Measurement of pH | T1 |
| 18 | Measurement of electrical conductivity | T1 |
| 19 | Measurement of electrical conductivity | R1 |
| 20 | Measurement of electrical conductivity | T1 |

MODULE-IV

TEMPERATURE MEASURMENT 4.1 Different temperature scales. 4.2 Different methods of temperature measurement. 4.3 Temperature measurement by liquid in glass thermometer 4.4 Describe temperature measurement on electrical phenomena – like thermocouple, resistance thermometer, optical pyrometer, radiation pyrometer.

Objectives:

To understand methods of temperature measurement.  To understand temperature measurement on electrical phenomena – like thermocouple, resistance thermometer, optical pyrometer, radiation pyrometer

| Lecture no | Topics to be covered | PRIMARY REFERENCE (BOOKS/NOTES) |
| --- | --- | --- |
| 21 | Different temperature scales | T1 |
| 22 | Different temperature scales | T1 |
| 23 | Different methods of temperature measurement | T1 |
| 24 | Different methods of temperature measurement | R1 |
| 25 | Temperature measurement by liquid in glass thermometer | T1 |
| 26 | Temperature measurement on thermocouple. | R1 |
| 27 | Resistance thermometer | T1, R1 |
| 28 | Resistance thermometer | R1 |
| 29 | Optical pyrometer | T1 |
| 30 | Radiation pyrometer. | T1, R1 |

MODULE-V

PRESSURE MEASUREMENT 5.1 Different types of pressure 5.2 Different methods of measurement of pressure. 5.3 Pressure measurement by Bourdon tube, Bellows 5.4 Maintenance and repair of pressure measuring instruments.

Objectives:

To understand methods of measurement of pressure.  To understand Maintenance and repair of pressure measuring instruments.

| Lecture no | Topics to be covered | PRIMARY REFERENCE (BOOKS/NOTES) |
| --- | --- | --- |
| 31 | Different types of pressure | T1, R1 |
| 32 | Different types of pressure | T1 |
| 33 | Different methods of measurement of pressure | R1 |
| 34 | Different methods of measurement of pressure | T1 |
| 35 | Pressure measurement by Bourdon tube, Bellows | R1 |
| 36 | Pressure measurement by Bourdon tube, Bellows | T1, R1 |
| 37 | Pressure measurement by Bourdon tube, Bellows | T1, R1 |
| 38 | Maintenance and repair of pressure measuring instruments | R1 |
| 39 | Maintenance and repair of pressure measuring instruments | T1 |
| 40 | Maintenance and repair of pressure measuring instruments | T1, R1 |

MODULE-VI

AUTOMATIC CONTROL 6.1 Automatic control system and explain the application with example. 6.2 Elementary idea about transfer functions for a first order system and time constant. 6.3 Block diagram and components of Process Control system 6.4 Types of process control system, advantages and disadvantages 6.3 Elementary idea about different types of automatic controllers. 6.4 Principle of PLC, computer Aided measurement and control

Objectives:

To understand Automatic control system.  To understand transfer functions for a first order system and time constant, Principle of PLC, computer Aided measurement and control.

| Lecture no | Topics to be covered | PRIMARY REFERENCE (BOOKS/NOTES) |
| --- | --- | --- |
| 41 | Automatic control system and explain the application with example | T1, R1 |
| 42 | Automatic control system and explain the application with example | R1 |
| 43 | Automatic control system and explain the application with example | T1 |
| 44 | Automatic control system and explain the application with example | T1, R1 |
| 45 | Transfer functions for 1st order system and time constant | R1 |
| 46 | Transfer functions for a first order system and time constant | T1 |
| 47 | Transfer functions for a first order system and time constant | T1, R1 |
| 48 | Transfer functions for a first order system and time constant | R1 |
| 49 | Transfer functions for a first order system and time constant | T1 |
| 50 | Block diagram and components of Process Control system | T1, R1 |
| 51 | Block diagram and components of Process Control system | R1 |
| 52 | Block diagram and components of Process Control system | T1 |
| 53 | Types of process control system | T1, R1 |
| 54 | Process control system, advantages and disadvantages | T1, R1 |
| 55 | Elementary idea about different types of automatic controllers | R1 |
| 56 | Principle of PLC | T1 |
| 57 | Computer Aided measurement and control | T1, R1 |
| 58 | Principle of PLC, computer Aided measurement and control | R1 |
| 59 | REVISION | T1 |
| 60 | REVISION | T1, R1 |

Course Delivery Plan

| Week | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
| MODULE | 1 | 1&2 | 2 | 2&3 | 3 | 4 | 4 | 4&5 | 5 | 5 | 6 | 6 | 6 | 6 | 6 |

BOOKS FOR REFERENCE:

TEXT BOOKS

T1: Industrial Instrumentation and control by S.K. Singh, Tata Mc Grawhill Publication.

REFERENCE

R1: Instrumental Approach to Chemical Analysis by A.K. Srivastava, S Chand Publication.

|  | Prepared by | Approved by |
| --- | --- | --- |
| Signature |  |  |
| Name | SOVAN KUMAR SAHOO |  |
| Designation | Lecturer | HOD, Chemical. |
| Date |  |  |